HPLC REPORT

| Sample: | Ipamorelin | Analyzed date: | 2017-6-13 |
| --- | --- | --- | --- |
| Analyst: | XHH | Reconstitution: | 100%H2O |
| Lot. No.: | P170419-LR488512 |
| Column: | Diamonsil C18,4.6*250mm,5um |
| Solvent A | A: 0.1% Trifluoroacetic Acid in 100% Acetonitrile |
| Solvent B | B: 0.1% Trifluoroacetic Acid in 100% Water |
| Gradient: |  | A | B |  |
|  | 0.0min | 23% | 77% |  |
|  | 25.0min | 48% | 52% |  |
|  | 25.1min | 100% | 0% |  |
|  | 30.0min | Stop |  |
| Volume: | 20μl |  |
| Wavelength: | 220nm |  |
| Flow rate: | 1.0ml/min |  |
| ──────────────────────── Rank Time Quantity Area Height ──────────────────────── 1 10.511 0.2545 29542 4800 2 11.417 99.28 11522074 1132793 3 11.696 0.4695 54490 21653 ──────────────────────── Total 100 11606106 1159246 |